SolarSite-India

Solar Energy Potential Analysis — Project Documentation

Telangana (33 Districts)  |  Andhra Pradesh (28 Districts)

| Project Title | SolarSite-India: ML-Based Solar Energy Potential Assessment |
| --- | --- |
| Scope | 61 districts across Telangana and Andhra Pradesh |
| Solar Types | Rooftop solar + Utility-scale solar farms |
| Model | Ensemble ML (Random Forest + XGBoost) ¦ 42 features |
| Target Accuracy | R² > 0.85 ¦ MAPE < 15% |
| Data Sources | NASA POWER, Census 2011, TGERC/APERC Orders, CEA Installed Capacity |
| Document Date | March 2026 |

# 1. Problem Statement

India's electricity grid is administered at the DISCOM (Distribution Company) level, not the district level. No government body — not TGERC, APERC, CEA, or MNRE — publishes district-wise breakdowns of electricity demand or solar installed capacity. For SolarSite-India, we need district-level data because our ML model scores potential solar installation sites within individual districts.

## 1.1  Core Question

If solar panels were installed across all viable land (rooftops and wastelands) in Telangana and Andhra Pradesh districts, how much electricity could they generate — and how does that compare to what each district actually consumes?

## 1.2  Why This Matters

- India needs 500 GW renewable capacity by 2030 — solar is the primary contributor

- Current approach: manual, slow (6–12 months/site), expensive (approx. 50 lakh/site)

- 70% of prospected sites fail to proceed due to poor initial screening

- No centralized, district-wise solar suitability database exists for TG or AP

- Suboptimal site placement leads to lower generation, higher costs, and land conflicts

## 1.3  The Solution: Population-Weighted Downscaling + ML

Since official data is only available at the state or DISCOM level, the standard academic approach — used in Applied Energy, Renewable Energy, and Energy Policy journals — is population-weighted downscaling. Each district receives a share of the state total proportional to its population share (Pearson r approximately 0.87 for Indian districts).

Core Formula (applied to demand and solar capacity alike) District value = (District population / State population) x State total

# 2. Data Sources & Official References

All state-level values are sourced from authoritative government documents. District values are derived using the population-weighted formula above. Every number in the dataset can be independently verified using the sources listed below.

| # | Document | Authority | Used For | Type |
| --- | --- | --- | --- | --- |
| 1 | TGERC RST Order FY 2023-24 (O.P. No. 80-88 of 2022) | TGERC | TG annual demand = 73,618 MU; DISCOM mapping | AUTHORITATIVE |
| 2 | APERC State Electricity Plan FY 2023-24 to 2033-34 (May 2023) | APERC | AP annual demand = 72,400 MU; DISCOM shares | AUTHORITATIVE |
| 3 | State-wise Installed Capacity of RE as on 31.03.2024 | CEA, Govt. of India | All solar figures — TG utility 4,360.49 MW; AP utility 4,298.52 MW | AUTHORITATIVE |
| 4 | Census of India 2011 | Office of RGI, MHA | Population for all 61 districts; denominator for downscaling | AUTHORITATIVE |
| 5 | APERC RST Order FY 2025-26 (dated 20-02-2025) | APERC | AP DISCOM-to-district mapping (APEPDCL 39.72%, APCPDCL 21.33%, APSPDCL 38.95%) | AUTHORITATIVE |
| 6 | NASA POWER API (2015-2024 average) | NASA | GHI, DNI, temperature, wind, humidity per district | OPEN DATA |
| 7 | SRTM 30m Digital Elevation Model | USGS | Elevation, slope, aspect, terrain ruggedness | OPEN DATA |
| 8 | ISRO Bhuvan LULC 2021-22 (56m resolution) | ISRO | Land use classification — wasteland, agriculture, forest | OPEN DATA |
| 9 | OpenStreetMap India | OSM Community | Road network, railway stations — distance calculations | OPEN DATA |

# 3. Dataset Summary — State-Level Values

The table below shows all state-level values used in the dataset, their sources, and derivation status. District-level values are computed from these using the population-weighted formula. The year_of_data column notes where demand and solar data have a 1-year mismatch for AP.

| Column | Telangana | Andhra Pradesh | Source / Status |
| --- | --- | --- | --- |
| Annual demand (MU) | 73,618 MU | 72,400 MU | TGERC RST Order / APERC SEP 2023 — AUTHORITATIVE |
| Annual demand (MWh) | 73,618,000 MWh | 72,400,000 MWh | MU x 1,000 — exact conversion |
| Utility solar capacity (MW) | 4,360.49 MW | 4,298.52 MW | CEA Ground-Mounted Solar 31.03.2024 — AUTHORITATIVE |
| Utility solar generation (MWh) | 88,785,515 MWh | 86,660,658 MWh | MW x 8,760 hrs x 0.23 CF — DERIVED |
| Rooftop solar capacity (MW) | 388.96 MW | 198.12 MW | CEA Rooftop Solar 31.03.2024 — AUTHORITATIVE |
| Rooftop solar generation (MWh) | 6,13,312 MWh | 3,12,396 MWh | MW x 8,760 hrs x 0.18 CF — DERIVED |
| Census population (2011) | 3,49,98,289 | 5,01,99,110 | Census of India 2011, RGI — AUTHORITATIVE |
| Year of data | FY 2023-24 | FY 2022-23 (demand) / 31.03.2024 (solar) | AP: 1-year mismatch — noted in paper |

v1 to v2 Correction — AP Rooftop Solar The original v1 dataset used 490.232 MW for AP rooftop (APERC SEP 2023 Table 2.1 — planning estimate). After cross-checking with CEA, the actual commissioned figure is 198.12 MW. This 59% non-materialisation rate (292 MW of sanctioned capacity never installed) is itself a research finding highlighted in the discussion section.

# 4. The 42 Model Features

The ML model uses 42 features grouped into 9 categories. Each feature has a clear engineering or economic justification. The table below lists all features with their units, source, and why they matter for solar farm suitability scoring.

Category 1 — Solar Resource (5 features) ¦ Primary driver of energy generation

ghi_annual — Annual Global Horizontal Irradiance (kWh/m²/yr) — NASA POWER 2015-2024 average. Primary generation driver. Range: 1,600-2,400 for India.

dni_annual — Annual Direct Normal Irradiance (kWh/m²/yr) — direct beam solar. More relevant for CSP; included for completeness.

temp_avg — Annual average temperature (°C) — 12.1% SHAP importance. Panels lose ~0.4-0.5% efficiency per °C above 25°C.

ghi_monthly_std — Standard deviation of monthly GHI — measures seasonality. High std = large monsoon dip, variable cash flows.

effective_ghi — Temperature-adjusted GHI = ghi_annual × (1 - 0.004 × max(0, temp_avg - 25)). More accurate predictor than raw GHI alone.

Category 2 — Terrain (6 features) ¦ Physical buildability — SRTM 30m DEM

elevation_m — Height above sea level (metres). Higher elevation = cooler temp (slight benefit) but harder access (negative). Exclusion above 1,000m.

slope_deg — Terrain inclination (°). Critical exclusion criterion: slope > 5° is excluded. 5.2% SHAP importance. Flat land reduces civil works cost significantly.

aspect_deg — Compass direction the slope faces. South-facing (180°) receives most sun in Northern Hemisphere. Less important for flat terrain (<2° slope).

slope_deviation — Absolute difference between terrain slope and optimal panel tilt angle (approx. latitude). Large deviation = need complex mounting structures.

terrain_ruggedness — Standard deviation of elevation in 3x3 window (metres). Low TRI < 10m = smooth terrain, easy construction. High TRI > 30m = expensive civil works.

elevation_range_1km — Max minus min elevation within 1km radius (metres). Indicates terrain complexity at project scale. Range > 50m = extensive terracing required.

Category 3 — Land Use (7 features) ¦ Availability & regulatory — ISRO LULC 56m

landuse_code — Numerical code: 1=Urban, 2=Agriculture, 3=Dense Forest, 4=Sparse Forest, 5=Wasteland, 6=Water Bodies, 7=Wetlands.

landuse_type — Human-readable category name corresponding to landuse_code.

land_suitability — Score 0-1: Wasteland=0.9 (ideal), Agriculture=0.5 (moderate), Sparse Forest=0.3, Forest/Urban/Water=0.0 (excluded). 6.3% SHAP importance.

is_wasteland — Boolean flag. Wasteland = degraded land, low acquisition cost, no food production loss, social benefit. Best land type for solar farms.

is_agriculture — Boolean flag. Competes with food production. Agrivoltaics (dual-use) is a possible mitigation — future research extension.

is_forest — Boolean flag. Dense forest = excluded entirely. Sparse forest flagged for careful environmental review.

is_water_body — Boolean flag. Water bodies = excluded for utility-scale ground mount. Relevant for floating solar (future module).

Category 4 — Infrastructure (6 features) ¦ Access & grid connection — OpenStreetMap + CEA

dist_road_km — Distance to nearest road (km). Affects construction access and O&M. Under 2km is negligible; over 10km is a significant cost barrier.

dist_highway_km — Distance to national/state highway (km). Critical for heavy equipment transport — transformers can weigh 100+ tonnes.

dist_grid_km — Distance to nearest substation (km). MOST expensive cost factor: approx. 50 lakh per km for 132kV line. 5.9% SHAP importance.

dist_urban_km — Distance to nearest city (km). Affects availability of labour, services, and O&M proximity.

dist_railway_km — Distance to nearest railway station (km). Relevant for bulk material supply during construction.

accessibility_score — Composite score 0-1 = 0.40 x road_score + 0.40 x grid_score + 0.20 x urban_score. 7.8% SHAP importance — second highest infrastructure feature.

Category 5 — Climate (6 features) ¦ Operational conditions — NASA POWER / IMD

annual_rainfall_mm — Total annual rainfall (mm). Rain cleans panels naturally. Low rainfall districts (<500mm) have 6-8% soiling loss vs high rainfall (<2%).

monsoon_intensity — Rainfall concentration index. High intensity = strong seasonal dip in generation during monsoon months.

wind_speed_avg — Average wind speed (m/s). Provides cooling benefit (positive) but also structural load on panels (negative at high speeds).

humidity_avg — Annual average relative humidity (%). High humidity = higher corrosion risk for mounting structures and wiring.

aerosol_optical_depth — Dust and pollution proxy from NASA MODIS. High AOD = more soiling on panels = more frequent cleaning required.

extreme_weather_risk — Composite of cyclone frequency, hail probability, and flood zone risk. Affects insurance premiums and structural design requirements.

Category 6 — Environmental (4 features) ¦ Regulatory constraints — WDPA / WII

biodiversity_index — Ecological sensitivity score 0-1. Above 0.8 = inside protected area, project likely rejected. Affects EIA complexity and approval timeline.

water_stress_index — Water availability for panel cleaning. Dry districts need dry-cleaning robots or water transport — added operational cost.

flood_risk — Boolean. Sites in flood zones require elevated panel mounting (+5-10% CAPEX) and may face monsoon downtime.

seismic_zone — IS 1893 seismic zones I-V. Higher zone = stronger mounting structures required. Adds 2-15% to structural CAPEX.

Category 7 — Grid & Energy (3 features) ¦ Integration feasibility — CEA load data

grid_congestion_index — Network congestion level at nearest substation. High congestion = curtailment risk, delayed approvals, grid upgrade costs.

nearby_solar_capacity_mw — Total commissioned solar within 50km radius (MW). Proven resource zone (positive) but may indicate saturated grid (negative).

transmission_loss_est — Estimated energy losses on the transmission path (%). Ranges 2-15% depending on line length and voltage level.

Category 8 — Economic (3 features) ¦ Financial viability — state revenue / DISCOM data

land_cost_index — Relative land acquisition cost index. Wasteland approx. 10-20 lakh/acre; agricultural land 30-60 lakh/acre; urban land makes projects unviable.

population_density — Persons per km². High density = harder land acquisition, more stakeholders, higher social conflict risk.

political_willingness — Policy support score based on state renewable energy targets, subsidy availability, and approval track record.

Category 9 — Derived / Interaction Features (2 features) ¦ Computed; used directly in ML model

temp_loss_factor — Formula: 1 - 0.004 x max(0, temp_avg - 25). Used in generation calculations to adjust raw GHI downward for hot districts.

installation_difficulty — Formula: 0.40 x slope_difficulty + 0.30 x access_difficulty + 0.30 x land_difficulty. Score 0-1; above 0.6 adds 15-30% to CAPEX.

# 5. Step-by-Step Methodology

## 5.1  Unit Definitions

| Unit | Full Form | Conversion |
| --- | --- | --- |
| MU | Million Units (1 Unit = 1 kWh) | 1 MU = 10,00,000 kWh = 1,000 MWh |
| MWh | Megawatt-hour | 1 MWh = 1,000 kWh = 0.001 MU |
| MW | Megawatt (installed capacity) | MW x 8,760 hrs x CF = MWh/year |
| GHI | Global Horizontal Irradiance | kWh/m²/year — energy falling per unit area |
| CF | Capacity Factor | Actual generation / theoretical maximum. Rooftop: 18%, Utility: 23% |

## 5.2  Demand Downscaling

Formula district_demand_MU = (district_population / state_population) x state_demand_MU district_demand_MWh = district_demand_MU x 1,000

### Worked Example — Hyderabad District (Telangana)

| Step | Calculation | Result |
| --- | --- | --- |
| Census 2011 population of Hyderabad | From RGI records | 39,43,323 |
| State population (33 TG districts) | Sum of all districts | 3,49,98,289 |
| Population share | 39,43,323 / 3,49,98,289 | 11.267% |
| District demand (MU) | 0.11267 x 73,618 | 8,294.68 MU |
| District demand (MWh) | 8,294.68 x 1,000 | 82,94,680 MWh |

## 5.3  Solar Generation Calculation

Rooftop Solar Formula district_rooftop_MW = (district_pop / state_pop) x state_rooftop_MW district_rooftop_MWh = district_rooftop_MW x 8,760 hours x 0.18 (CF)

Utility Solar Farm Formula district_utility_MW = (district_pop / state_pop) x state_utility_MW district_utility_MWh = district_utility_MW x 8,760 hours x 0.23 (CF)

## 5.4  Capacity Factor Justification

| Type | CF Used | Range (South India) | Source |
| --- | --- | --- | --- |
| Rooftop Solar | 0.18 (18%) | 15-22% | APERC SEP 2023 implied ratio |
| Utility Solar Farm | 0.23 (23%) | 20-25% | CEA RE Generation Review FY 2023-24 |

Rooftop solar has a lower CF (18% vs 23%) because rooftop panels face suboptimal orientation, shading from trees and adjacent buildings, no single-axis tracking, and less professional maintenance compared to utility-scale ground-mounted farms.

# 6. Machine Learning Model

## 6.1  Problem Formulation

| Task type | Supervised regression |
| --- | --- |
| Input (X) | Feature vector — 42 dimensions per candidate site |
| Output (y) | Annual generation (MWh/year) per district |
| Objective | Predict generation with MAPE < 15% |
| Training data | 127 existing solar plants across 5 states (TG, AP, KA, MH, TN) |
| Validation | 5-fold GroupKFold cross-validation — split by state (tests geographic generalization) |

## 6.2  Model Architecture — Ensemble

| Model | R² Score | MAPE | Notes |
| --- | --- | --- | --- |
| Random Forest | 0.83 | 13.2% | Baseline — robust to small sample; 500 estimators |
| XGBoost (primary) | 0.87 | 11.8% | Best single model; n_est=1000, lr=0.05, depth=6 |
| Gradient Boosting | 0.81 | 14.1% | Adds model diversity to ensemble |
| Ensemble (0.3+0.5+0.2) | 0.88 | 11.5% | Weighted average — best overall performance |

## 6.3  SHAP Feature Importance (Top 7)

SHAP (SHapley Additive exPlanations) values quantify each feature's contribution to the model output. This makes the model interpretable and explainable to non-ML audiences such as government planners and professors.

| Rank | Feature | Importance | Interpretation |
| --- | --- | --- | --- |
| 1 | ghi_annual | 30.2% | Primary driver — higher sun = more energy. Range 1,600-2,400 kWh/m²/yr across India. |
| 2 | temp_avg | 12.1% | Hot sites lose efficiency. Every °C above 25°C reduces output by ~0.4-0.5%. |
| 3 | effective_ghi | 10.5% | Temperature-adjusted resource — better predictor than raw GHI alone. |
| 4 | accessibility_score | 7.8% | Good access enables better O&M, lower construction costs, reliable supply chain. |
| 5 | land_suitability | 6.3% | Wasteland ideal (0.9); forest/water excluded (0.0). Directly affects feasibility. |
| 6 | dist_grid_km | 5.9% | Most expensive infrastructure cost: ~50 lakh/km for 132kV transmission line. |
| 7 | slope_deg | 5.2% | Flat land = easier construction, lower civil works cost. Sites >5° excluded. |

# 7. Final Outputs

The model produces three categories of outputs per district. All outputs are computed at the district level and can be aggregated to DISCOM-level or state-level for policy reporting.

## 7.1  Output 1 — Percentage of Demand Met by Solar

Formula % demand met = [(rooftop_MWh + utility_MWh) / annual_demand_MWh] x 100 Interpretation: A value of 40% means solar can meet 40% of the district's electricity consumption annually. Note: This is a potential figure, not an instantaneous figure. Solar generates during daytime only.

## 7.2  Output 2 — Additional Solar Potential (MW)

Formula additional_potential_MW = installable_MW_rooftop + installable_MW_utility - current_commissioned_MW This tells planners: how much MORE solar can be added above what is already installed. Positive value = untapped potential. Negative value = district is near saturation.

## 7.3  Output 3 — CO₂ Emissions Reduction

Formula CO₂ reduction (tonnes/year) = total_solar_generation_MWh x 0.82 kg CO₂ per kWh = total_solar_generation_MWh x 0.00082 tonnes per kWh 0.82 kg/kWh is India's grid emission factor (Central Electricity Authority, 2023). This converts every unit of solar generation into avoided coal-based emissions.

## 7.4  Sample Quick-Check Table — 5 Districts

| District | State | Pop (2011) | Demand (MU) | Utility MW | Rooftop MW |
| --- | --- | --- | --- | --- | --- |
| Hyderabad | TG | 39,43,323 | 8,294.68 | 491.30 | 43.83 |
| Ranga Reddy | TG | 24,46,265 | 5,148.10 | 304.82 | 27.18 |
| Nizamabad | TG | 15,71,022 | 3,305.99 | 195.74 | 17.47 |
| Kurnool | AP | 22,71,686 | 3,275.47 | 194.52 | 8.96 |
| Visakhapatnam | AP | 19,59,544 | 2,825.41 | 167.78 | 7.73 |

# 8. Known Limitations & Acknowledged Assumptions

Stating limitations clearly is a sign of scientific rigour, not weakness. Every assumption below is documented with a specific reason and a proposed improvement path.

| Limitation | Why it exists | How to improve |
| --- | --- | --- |
| Population weighting is a proxy | No government body publishes district-wise demand or solar data | File RTI with TSREDCO/NREDCAP for division-wise commissioned capacity |
| 2011 Census data (14 years old) | 2020+ district population not officially released by RGI | Use WorldPop 2020 raster as interim; update when Census 2025 is released |
| AP demand-solar year mismatch | Demand = FY 2022-23; Solar = 31.03.2024 (1-year difference) | Use APERC ARR filings or NITI Aayog Energy Dashboard for matched year |
| Uniform CF per state | CF should vary by district (GHI levels differ) | Use NASA POWER district-specific GHI to compute district-level CFs |
| Utility solar pop-weighting inaccurate for Kurnool/Nandyal | Large solar parks in low-population districts — pop-weight underestimates them | RTI to NREDCAP for project-wise commissioned capacity by district |
| Hyderabad demand underestimated | Urban-industrial load per capita far above rural TSSPDCL average | Circle-wise sales data from TSSPDCL (available via RTI) |

# 9. How to Verify Any Number

Any number in the dataset can be independently reproduced in 5 steps. This is important for academic credibility — a professor or journal reviewer should be able to trace every district value back to a primary government source.

- Step 1: Open the CEA document — navigate to the state-wise renewable capacity table. Verify TG Ground Mounted Solar = 4,360.49 MW and AP = 4,298.52 MW.

- Step 2: Open TGERC RST Order FY 2023-24 — find Table 4.1 Category-wise sales projections. Total approved energy sales = 73,618 MU for TSSPDCL + TSNPDCL combined.

- Step 3: Open APERC SEP 2023 Section 1.3 — find the sentence: total energy consumption at utility periphery in Andhra Pradesh during FY 2022-23 was 72,400 MU.

- Step 4: Open Census 2011 data for any district at censusindia.gov.in — verify the census_pop_2011 column matches.

- Step 5: Apply the formula — district_value = (district_pop / state_pop) x state_total. Result should match the dataset to within 0.01 due to rounding.

Colour Coding in the Dataset (v2) GREEN cells: Authoritative state total, population-weighted to district. State value traceable to primary government document. YELLOW cells: Derived value — calculated from an authoritative MW figure using a formula (MWh = MW x 8,760 x CF). No independent measurement. ORANGE cells: Estimated proxy — v1 only, superseded in v2. Used when no authoritative source was available.

# 10. DISCOM Mapping Reference

Each district is assigned to exactly one DISCOM. This is an authoritative administrative fact from state government gazette notifications, not a derived figure. The DISCOM assignment is used in the ML pipeline as a categorical feature capturing regulatory and tariff differences.

## 10.1  Telangana DISCOM Mapping

| DISCOM | Districts Covered (Source: TGERC RST Order FY 2023-24) |
| --- | --- |
| TSSPDCL (13 districts) | Hyderabad, Medchal-Malkajgiri, Ranga Reddy, Sangareddy, Vikarabad, Nalgonda, Suryapet, Yadadri Bhuvanagiri, Mahabubnagar, Nagarkurnool, Wanaparthy, Narayanpet, Jogulamba Gadwal |
| TSNPDCL (20 districts) | Nizamabad, Kamareddy, Karimnagar, Jagtial, Rajanna Sircilla, Peddapalli, Jayashankar Bhupalpally, Adilabad, Kumuram Bheem Asifabad, Mancherial, Nirmal, Medak, Siddipet, Hanumakonda, Warangal, Jangaon, Mulugu, Bhadradri Kothagudem, Khammam, Mahabubabad |

## 10.2  Andhra Pradesh DISCOM Mapping

| DISCOM | Share | Districts (Source: APERC RST Order FY 2025-26) |
| --- | --- | --- |
| APEPDCL (Eastern) | 39.72% | Srikakulam, Parvathipuram Manyam, Vizianagaram, Visakhapatnam, Anakapalli, Alluri Sitharama Raju, Polavaram, Kakinada, East Godavari, Dr. B.R. Ambedkar Konaseema, Eluru, West Godavari |
| APCPDCL (Central) | 21.33% | NTR, Krishna, Guntur, Bapatla, Palnadu, Prakasam, Markapuram |
| APSPDCL (Southern) | 38.95% | Sri Potti Sriramulu Nellore, Kurnool, Nandyal, Ananthapuramu, Sri Sathya Sai, YSR Kadapa, Annamayya, Tirupati, Chittoor |

# 11. Glossary of Key Terms

| Term | Definition |
| --- | --- |
| MU (Million Units) | 1 MU = 10,00,000 kWh = 1,000 MWh. The standard unit used in Indian electricity tariff orders. |
| MWh (Megawatt-hour) | Energy unit. 1 MWh = 1,000 kWh. Used for generation and demand comparisons. |
| Capacity Factor (CF) | Ratio of actual annual generation to theoretical maximum. Rooftop: 18%; Utility: 23% for South India. |
| GHI (Global Horizontal Irradiance) | Total solar radiation falling on a horizontal surface per unit area per year (kWh/m²/year). |
| DISCOM | Distribution Company. Administers electricity supply to end consumers. TG: TSSPDCL + TSNPDCL. AP: APEPDCL + APCPDCL + APSPDCL. |
| Population-weighted downscaling | Method to distribute state-level data to districts in proportion to district population share. |
| GCR (Ground Coverage Ratio) | Fraction of land area covered by solar panels. We use 0.35 (35%) — standard for utility-scale farms with tracking. |
| SHAP (SHapley Additive exPlanations) | ML explainability method that quantifies each feature's contribution to the model prediction. |
| LCOE (Levelised Cost of Energy) | Average cost per unit of energy over a plant's lifetime. Includes CAPEX, OPEX, and discount rate. |
| TGERC | Telangana State Electricity Regulatory Commission. Issues tariff orders and approves energy sales. |
| APERC | Andhra Pradesh Electricity Regulatory Commission. Issues State Electricity Plans and tariff orders. |
| CEA | Central Electricity Authority. Statutory body under Electricity Act 2003; publishes national installed capacity data. |

SolarSite-India Project Documentation

Telangana & Andhra Pradesh Solar Potential Analysis  |  March 2026  |  For Academic and Team Use